HOT WORKS PERMIT-TO-WORK

This permit must be issued before any hot works (welding, brazing, soldering, grinding, cutting, hot air work or any other process producing sparks or sustained heat) commences. Where the principal contractor operates a permit system, that system takes precedence and this form is not used.

1. Permit Details

| Permit Number |  |
| --- | --- |
| Date of Works |  |
| Site / Project |  |
| Principal Contractor |  |
| Exact Location of Works |  |
| Permit Valid From | Time: Date: |
| Permit Valid To | Time: Date: |

2. Description of Hot Works

Type of hot work (tick all that apply):

☐  Welding

☐  Brazing / soldering

☐  Grinding / cutting (powered tools producing sparks)

☐  Hot air work / heat shrinking

☐  Naked flame / blowtorch

☐  Other (specify): ____________________________________________

3. Operative Carrying Out the Work

| Name |  |
| --- | --- |
| CSCS Card Number / Expiry |  |
| Trained / Competent for Task | Yes / No - Evidence: |

4. Pre-Work Checks (to be completed by Supervisor before work begins)

☐  Combustible materials removed from a 5-metre radius of the work, or protected with fire-resistant blankets / screens

☐  Floor and surrounding surfaces swept clean of dust, debris and combustibles

☐  Openings, gaps and ducts that could allow sparks to enter adjacent areas have been sealed or covered

☐  Suitable fire extinguisher (correct type, in date) is positioned within arm’s reach of the work

☐  A competent fire watcher has been nominated and briefed (name below)

☐  PPE requirements identified and worn (welding screen, gauntlets, FR clothing as required)

☐  SDS / COSHH information for any flammable substances in the area is on hand

☐  Site alarm signal, escape routes and assembly point confirmed with operative

☐  Principal contractor has been notified that hot works are about to commence

☐  Means of escape from the work area is clear and unobstructed

Fire watcher name: __________________________________________   Signature: ____________________

5. Permit Issue

| Issued by (Supervisor) | Name: | Signed: |
| --- | --- | --- |
| Date / Time of issue |  |  |
| Accepted by Operative | Name: | Signed: |

6. Post-Work Fire Watch

A fire watch must be maintained for a minimum of 1 hour after hot works cease. Where the Joint Code of Practice or the principal contractor requires a longer period (e.g. roof works), that requirement applies.

| Hot works ceased at | Time: | Date: |
| --- | --- | --- |
| Fire watch ended at | Time: | Date: |
| Fire watch duration |  |  |
| Final inspection of work area completed by | Name: | Signed: |
| Area left in safe condition? | Yes / No | If No, action taken: |

7. Permit Close-Out

| Closed by Supervisor | Name: Signed: |
| --- | --- |
| Date / Time of close-out |  |
| Comments / lessons learned |  |

Completed permit to be retained on the contract file.