⟦legalNameUpper⟧

Quality Assurance Policy

Contents

Policy Statement	3

1.0 Policy Statement	3

2.0 Leadership and Responsibilities	3

3.0 Scope, Standards and Compliance	4

4.0 Quality Planning and Objectives	4

5.0 Workforce Competence, Supervision and Training	5

6.0 Communication and Cooperation with Duty holders	5

7.0 Operational Control	5

8.0 Risk Management, Monitoring and Improvement	6

9.0 Documentation and Records	6

10.0 Supply Chain Management	6

11.0 Policy Communication and Review	6

# Policy Statement

⟦legalName⟧ is a ventilation and ductwork installation contractor based in ⟦town⟧. We are committed to delivering safe, compliant and high-quality services to our clients while upholding the requirements of UK legislation, recognised industry standards and best practice guidance.

Our Quality Assurance Policy (QAP) provides the framework for achieving consistent performance across all operations associated with the delivery of ventilation and ductwork systems, including design information review, manufacture (where undertaken by others), installation, testing, commissioning and aftercare. It is aligned with the principles of ISO 9001:2015 and supports our compliance with the Building Safety Act 2022, the Building Regulations 2010 (as amended), the Construction (Design and Management) Regulations 2015, and key industry specifications such as BESA DW/144, DW/154 and TR/19.

⟦legalName⟧ installs ductwork systems strictly in accordance with client-issued designs, specifications, drawings and tested system details. The company does not undertake design responsibility and does not subcontract installation works.

We believe quality is everyone’s responsibility. All employees are expected to uphold this policy in their daily activities, ensuring that every project we undertake is delivered to the highest standards of safety, compliance and workmanship.

In addition, ⟦legalName⟧ recognises that the Building Safety Act 2022 introduces enhanced expectations for accountability, competence, assurance and the accuracy of building information. The company is committed to supporting these principles through its quality management arrangements by ensuring that installation activities are carried out competently, verified appropriately and supported by accurate and traceable records, in line with its role as an installation contractor working to client-issued designs and specifications.

This policy is reviewed annually, or earlier if significant changes occur in legislation, standards or company operations, and is made available to employees, clients and other interested parties.

## 1.0 Leadership and Responsibilities

Ultimate accountability for quality lies with the Managing Director, ⟦hsLead⟧, who ensures the QAP is resourced, effective and continuously improved. The management team translates this policy into measurable objectives and oversees its implementation.

Project managers and supervisors are responsible for planning and supervising day-to-day work, ensuring that standards and procedures are followed. They provide clear instruction to staff and subcontractors, verify competence, and monitor performance on site.

Every employee is responsible for carrying out their duties in line with our procedures, reporting nonconformities, and taking ownership of quality in their work. All employees are inducted, trained on our systems, provided with project-specific instructions, and monitored to ensure their work aligns with our requirements.

The supply chain is integral to quality. Suppliers are selected on their ability to provide compliant materials and services, and are subject to ongoing evaluation and performance monitoring.

In line with the Building Safety Act 2022, senior management recognise their responsibility to ensure that quality arrangements support building safety outcomes. This includes ensuring that roles and responsibilities are clearly understood, that competence is maintained and verified, and that quality controls provide assurance that installation works have been completed in accordance with issued information, applicable standards and statutory requirements.

## 2.0 Scope, Standards and Compliance

This policy covers all activities undertaken by ⟦legalName⟧, including design, manufacturing, installation, testing, commissioning, and maintenance of ventilation and ductwork systems.

Our operations are guided by relevant legislation and standards, including:

- Building Safety Act 2022

- Building Regulations 2010 (as amended) – including Part F (Ventilation), Part L (Energy), Part B (Fire Safety)

- Construction (Design and Management) Regulations 2015

- BESA DW/144 – Specification for Sheet Metal Ductwork

- BESA DW/154 – Specification for Plastics Ductwork

- BESA TR/19 – Hygiene and Cleanliness of Ventilation Systems

- BS EN 15780 – Ventilation for Buildings: Cleanliness of Ventilation Systems

- BS EN 12236 – Supports and Hangers for Ductwork

- BS 7671 – Electrical Installations (where applicable)

- ISO 9001:2015 – Quality Management Systems

We monitor updates from BESA, ISO and other regulatory sources to ensure ongoing compliance.

⟦legalName⟧ acknowledges that the Building Safety Act 2022 reinforces the importance of compliance with applicable standards and the accurate execution of instructed works. The company’s quality management arrangements are designed to ensure that ventilation and ductwork installations are delivered in accordance with the standards listed in this policy, that deviations are identified and reported, and that compliance can be evidenced through inspection, verification and retained records.

## 3.0 Quality Planning and Objectives

Quality objectives are set annually and reviewed regularly. They include measures such as defect reduction, on-time project delivery, compliance with duct leakage classes, client satisfaction, and subcontractor performance.

Each project has a tailored quality plan outlining scope, deliverables, inspection points, responsibilities and reporting arrangements. These plans ensure work is structured, risks are identified, and compliance is built into every stage of delivery.

## 4.0 Workforce Competence, Supervision and Training

We ensure that all employees and subcontractors are competent, adequately supervised, and fully informed about the requirements of their work.

New employees receive induction training covering company quality objectives, safety requirements, and relevant technical standards. Ongoing training includes toolbox talks, supplier briefings, apprenticeships, NVQs and CPD activities to ensure skills remain current. Supervisors and managers provide day-to-day oversight, confirming that individuals have the qualifications and competence required for their roles.

By embedding supervision, instruction and training into our operations, we ensure that every task is carried out in compliance with the Building Safety Act, Building Regulations, Health and safety at work but not limited to.

In support of the Building Safety Act 2022 competence principles, ⟦legalName⟧ ensures that individuals undertaking installation work have the appropriate skills, knowledge, experience and behaviours for their role. Competence is supported through training, supervision and ongoing monitoring, and is treated as a key element of the company’s quality assurance arrangements.

## 5.0 Communication and Cooperation with Duty holders

We maintain structured arrangements to communicate and cooperate with other duty holders, including clients, designers, principal contractors, and subcontractors.

At project mobilisation, we participate in coordination meetings to establish roles, responsibilities and compliance pathways. Regular progress meetings, design reviews and information exchanges ensure that all parties remain aligned with requirements. We share design documents, inspection reports, test certificates and as-built records promptly and transparently, supporting the “golden thread” of building information required under the Building Safety Act.

Where issues arise, we work collaboratively with other duty holders to resolve them, ensuring that solutions meet statutory and contractual requirements. These arrangements provide assurance that our work integrates with the wider project and contributes to overall building compliance.

The company recognises the Building Safety Act requirement for effective cooperation between duty holders. ⟦legalName⟧ supports this by communicating openly with clients, principal designers and principal contractors, reporting installation issues, information gaps or non-conformities promptly, and providing accurate quality and installation records to support overall building compliance.

## 6.0 Operational Control

Design outputs are subject to review and approval before issue. Fabrication processes are controlled to ensure materials are certified, traceable and compliant with specifications. Manufacturing steps are inspected at key stages, and nonconforming items are segregated and managed through corrective action.

Installation is carried out in accordance with drawings, specifications and standards such as DW/144. Inspections confirm correct alignment, sealing, support and fire safety provisions. Systems are tested for leakage, performance and cleanliness, with results recorded and reported to clients.

These controls ensure that every stage of delivery is verifiable and consistent with regulatory and industry requirements.

In accordance with the Building Safety Act 2022, operational controls are applied to ensure that installation works are verifiable and that quality outcomes can be demonstrated. Inspection and checking activities provide assurance that works have been completed in line with issued information and applicable standards, and that any departures from requirements are identified, recorded and addressed.

## 7.0 Risk Management, Monitoring and Improvement

Risks to quality are assessed and managed throughout our operations. We maintain a risk register to record issues such as material defects, installation errors and supply chain failures, assigning actions to mitigate or eliminate them.

Performance is monitored through inspections, audits and reviews. Nonconformities are logged, investigated for root causes, and corrected. Audit findings and lessons learned are reviewed by management and fed into continuous improvement initiatives.

## 8.0 Documentation and Records

All documents and records are version controlled, accessible and secure. Records include training logs, induction forms, subcontractor competence evidence, inspection reports, test certificates, and nonconformity reports. Retention periods are defined to ensure traceability, and records can be produced for clients, auditors or regulators when required.

## 9.0 Supply Chain Management

Suppliers are prequalified and assessed for their ability to provide compliant products and services. Materials are checked for certification and traceability before use. Supplier performance is reviewed regularly, and nonconformities are addressed through corrective action.

We treat our supply chain as partners, supporting them in meeting requirements while ensuring that counterfeit or noncompliant materials are excluded from our projects.

⟦legalName⟧ recognises that the Building Safety Act 2022 places increased emphasis on the accuracy, availability and traceability of information. Quality records are therefore maintained in a controlled manner to ensure that installation activities can be evidenced, that information provided to clients is accurate, and that records support the wider management of building safety information where required.

## 10.0 Policy Communication and Review

This policy is communicated to all employees and supply chain partners. It is displayed on company premises and reinforced through meetings and training. Employees are encouraged to provide feedback and suggestions for improvement.

The policy is reviewed annually by the Managing Director, taking into account legislative changes, industry standards, audit results, client feedback and project performance.

As part of the annual review process, consideration is given to changes arising from the Building Safety Act 2022, including updates to guidance, standards or client expectations. Where required, quality arrangements are updated to ensure continued alignment with building safety principles while maintaining consistency with client-approved requirements.

⟦hsLead⟧

Managing Director, ⟦legalName⟧ 					Date: ⟦issueDate⟧

| Version | Date | Author | Description of Changes | Approval By |
| --- | --- | --- | --- | --- |
| 1.0 | 26/09/2025 | Simon Archer | Initial Creation | ⟦hsLead⟧ |
| 2.0 | 08/01/2026 | Simon Archer | BSA amendments | ⟦hsLead⟧ |
| 2.0 | ⟦issueDate⟧ | Simon Archer | No Changes Required | ⟦hsLead⟧ |