⟦legalNameUpper⟧

Toolbox Talk Golden Thread

Contents

Purpose	3

Key Points	3

On-site Examples	3

Why it Matters	3

Action Points	3

Questions	3

# Purpose

The Golden Thread is a record of information about the components used to ensure safety of occupiers throughout the lifecycle of the building. The golden thread of quality and compliance information is required under the Building Safety Act 2022.

## Key Points

The golden thread means keeping a continuous, accurate record of what was built, how it was built, and who built it.

Under the Act, duty holders (including installers and supervisors as contractors) must ensure that the building’s safety and quality information is up to date and accessible.

If inspectors, clients, or the Building Safety Regulator request evidence, ⟦short⟧ must be able to prove compliance with photos, QA sheets, and as-built drawings.

## On-site Examples

Take clear, time-stamped photos before ductwork is enclosed above ceilings or behind walls.

Label ductwork sections and supports with asset tags or approved system in place as instructed by the PC.

Keep material delivery notes and manufacturer data sheets.

## Why it Matters

If issues arise after completion, evidence protects the ⟦short⟧, their clients and yourselves individual installer.

Without the golden thread, the project cannot achieve Building Control sign-off or Building Assurance Certificates.

Good records reduce disputes and rework saving everyone time and money.

## Action Points

Fill out QA forms regularly when works are complete not saved for the Friday afternoon!

Take photos and upload or file them promptly.

Keep records of changes, approvals.

Remember: if you don’t document it, you cant prove it happened!

## Questions

| Name | Date | Signature |
| --- | --- | --- |