⟦legalNameUpper⟧

Toolbox Talk Quality of installations

Contents

Purpose	3

Key Points	3

On-site Examples	3

Why it Matters	3

Action Points	3

Questions	3

# Purpose

Awareness of the Building Safety Act 2022 and how it places personal and company accountability on ensuring that all installation work meets approved standards and can be proven through evidence.

## Key Points

The Building Safety Act 2022 makes everyone responsible for the quality and safety of the work they carry out.

Under the Act and the updated Building Regulations 2010 (as amended 2023), ⟦short⟧ must demonstrate a golden thread of information – that means clear, accurate records of what was installed, by whom, and in accordance with what specification.

Every length of ductwork, bracket, damper, seal, and fire-rated component must be installed exactly as per the approved drawings and manufacturer’s instructions.

## On-site Examples

If a duct support detail looks unclear, stop and ask. Never guess or make it fit.

Use only approved fixings and materials – mixing brands or types can invalidate fire performance.

Record your work: take photos of key installations, tag sections, and complete QA check sheets.

## Why it Matters

The regulator (Building Safety Regulator) can hold individuals responsible for unsafe or non-compliant work.

High-quality installation prevents rework, protects reputation, and keeps everyone safe.

## Action Points

Always read and understand the approved design and specification.

Record your work clearly – before and after closing up areas.

Report any deviations or damaged materials immediately.

Take pride in your work, your name is on the work!

## Questions

| Name | Date | Signature |
| --- | --- | --- |