# BUILDING REGULATIONS

# COMPLIANCE POLICY

| Date | ⟦issueMonth⟧ |
| --- | --- |
| Author | Simon Archer |
| Review Date | ⟦reviewMonth⟧ |

Contents

Purpose	3

1. Scope	3

2. The rules we work to	3

3. What that means in practice	3

4. Approvals	3

5. Records	3

6. Responsibilities	3

7. The law behind this policy	4

8. Policy review and updates	4

## Purpose

The security and CCTV work ⟦legalName⟧ (⟦short⟧) designs can affect fire safety, electrical safety and how people move around a building. This policy sets out how we keep that work on the right side of the Building Regulations.

## 1. Scope

It covers all our design and specification work, in our role as Designer. ⟦short⟧ does not act as Principal Designer.

## 2. The rules we work to

We work within the Building Act 1984 and the Building Regulations 2010, and we pay particular attention to the Approved Documents that touch our work:

•  Approved Document B (fire safety): how cabling is routed, how penetrations are fire-stopped, and how our equipment sits alongside detection and alarm systems.

•  BS 7671, the IET Wiring Regulations, for all electrical installation work, and Approved Document P (electrical safety) where the work is in a dwelling.

•  Approved Document M (access), where a security measure affects how people get around a building.

We meet the designer duties in Part 2A of the Building Regulations 2010, introduced by the Building Regulations etc. (Amendment) (England) Regulations 2023, including only taking on work we are competent to do. On higher-risk buildings we also work within the Building Safety Act 2022 and the gateway approvals run by the Building Safety Regulator.

## 3. What that means in practice

•  Making sure our equipment and cabling do not weaken fire compartmentation or block escape routes.

•  Specifying fire-stopping for any holes our systems create.

•  Working with the fire strategy and the alarm and detection designers so nothing clashes.

•  Choosing products that genuinely meet the standards.

## 4. Approvals

We give Building Control, and on higher-risk buildings the gateway submissions, accurate information on time, and we work with the Principal Designer, Principal Contractor and Client throughout.

## 5. Records

Design decisions and the risks we flag are recorded and kept in line with our Information Management (Golden Thread) Policy.

## 6. Responsibilities

•  Managing Director: overall responsibility for compliance.

•  Design lead on each project: checks designs against the regulations before they go out.

•  Design staff: produce compliant work and raise risks early.

## 7. The law behind this policy

The main pieces are the Building Act 1984, the Building Regulations 2010 and the Approved Documents, the Construction (Design and Management) Regulations 2015, and the Building Safety Act 2022.

## 8. Policy review and updates

This policy is reviewed at least once every 12 months, and sooner if there is a change in legislation, working practices or company circumstances. Any amendments are recorded in the version control table below and communicated to all employees.

⟦hsLead⟧

Managing Director, ⟦legalName⟧ 				Date: 15/07/2026

| Version | Date | Author | Description of Changes | Approval By |
| --- | --- | --- | --- | --- |
| 2.0 | July 2026 | Simon Archer | Reviewed and updated | ⟦hsLead⟧ |
| 3.0 | ⟦issueMonth⟧ | Simon Archer | Electrical standards wording corrected. Designer duties under Part 2A added. Roles set for a small team. | ⟦hsLead⟧ |