# DESIGN FOR PLACES OF WORK

# DESIGN REVIEW CHECKLIST

Workplace (Health, Safety and Welfare) Regulations 1992

| Project |  |
| --- | --- |
| Client |  |
| Project reference |  |
| Design stage |  |
| Completed by |  |
| Date |  |

Design checks

Mark each item Y (yes), N (no) or N/A. Any "N" must have an action recorded before the design is issued.

| Ref | Design consideration | Regulation | Y / N / N/A | Comments / action |
| --- | --- | --- | --- | --- |
| 1 | Lighting suitable and sufficient at control and monitoring positions; no glare or shadow from camera or equipment positions | Reg 8 |  |  |
| 2 | General and emergency lighting not reduced by the design | Reg 8 |  |  |
| 3 | Ventilation: equipment heat loads allowed for; vents, grilles and air paths not obstructed | Reg 6 |  |  |
| 4 | Temperature: heat from racks, recorders and power supplies considered and managed | Reg 7 |  |  |
| 5 | Room dimensions and space: adequate space at operator positions and around equipment for safe use and maintenance | Reg 10 |  |  |
| 6 | Workstation and display screen: safe operator set-up (screen position, seating, viewing distance) | Reg 11 / DSE Regs 1992 |  |  |
| 7 | Floors and traffic routes: cabling and containment do not create trip hazards or obstruct routes | Reg 12 |  |  |
| 8 | Escape routes and emergency exits not obstructed by equipment or cabling | Reg 12 / 17 |  |  |
| 9 | Doors, gates and access control do not impede safe movement or emergency escape | Regs 17 & 18 |  |  |
| 10 | Welfare facilities and required space not compromised by the design | Regs 20-25 |  |  |
| 11 | Residual issues communicated to Principal Designer, Principal Contractor and Client | CDM 2015 |  |  |

Reviewed by: ______________________     Signature: ______________________     Date: ____________

Approved by (Managing Director): ______________________     Date: ____________

⟦short⟧ form: Design for Places of Work Checklist  |  v1.0  |  July 2026